***Appendix No. 2 to the Request for Proposal (RFP.273.70.2023)***

..................................................

*(Contractor's name and address)*

*Tel:...........................................*

*Fax:.........................................*

*e-mail:..........................................* ...........................................................

*(place and date)*

**BID FORM**

In response to the announcement for the Request for Proposal entitled. "**Delivery of electron beam position monitors housing for PolFEL free electron laser linear accellerator to the Purchaser's premises.**" **(EEZP.273.70.2023)**, in accordance with the requirements specified in the announcement, I submit this offer:

* 1. I offer to provide the subject matter of this order, in accordance with the requirements specified in the Request for Proposal, for the total price, in accordance with Appendix A to the Bid Form -Price Form:

|  |  |
| --- | --- |
| **NET BID PRICE** | *............................................................................PLN/EUR/USD* (*in words*: ..........................................................................) |
| **VAT** | *............................................................................PLN/EUR/USD* (*in words*: .................................................................................) |
| **GROSS BID PRICE** | *...........................................................................PLN/EUR/USD*  (*in words*..........................................................................) |

I declare that I have familiarized myself with the request for quotation (including the model agreement and appendixes) and do not raise any objections to it/it and accept the conditions contained therein.

1. I declare that the offered subject of the order meets the requirements specified in the description of the subject of the order.
2. I offer to perform this contract in accordance with the requirements of the Employer within .................... weeks from the date of conclusion of the contract.
3. The offered warranty period is..........................................(**minimum warranty period is 12 months)**
4. I declare that the gross price given in point 1 of this form includes all costs of contract execution to be borne by the Awarding Entity in case of selection of this offer.
5. If the contract is awarded, I undertake to conclude a contract at the place and date indicated by the Awarding Entity and under the terms and conditions specified in the model contract attached as Appendix No. 4 to this request for proposal.
6. I declare that the selection of my offer will lead / will not lead \*) to   
   the tax obligation of the Awarding Entity on the basis of the provisions on tax on goods   
   and services. Below is a list of supplies and services on which the Awarding Entity's tax obligation arises.

*\*) delete as appropriate*

|  |  |  |
| --- | --- | --- |
| Lp. | Name of the good or service | Net value excluding VAT |
|  |  |  |

1. The subject of the contract I intend to perform myself / I foresee to entrust to subcontractors \*).

*\*) delete as appropriate*

|  |  |  |
| --- | --- | --- |
| Lp. | Name of subcontractor | Part of the contract to be performed by the subcontractor |
|  |  |  |

1. I declare that I am bound by this bid for a period of 30 days from the deadline for submission of bids.
2. I declare that I am **a micro, small, medium\*\*)** entrepreneur within the meaning of the provisions of the Act of March 6, 2018. Entrepreneurs Law **\*\*) delete as appropriate**.
3. I declare that I have fulfilled the information obligations provided for in Article 13 or Article 14 of the GDPR to individuals from whom I have directly or indirectly obtained personal data for the purpose of applying for a public contract in this procedure.
4. The bid and its attachments were submitted on ....... pages.
5. Contractor Details: Company Name \*):

Address \*)............................................................................................................................................................

Province .........................................................................,

tel. \*).....................................................................,

fax. \*)....................................................................

e-mail\*) ..................................................................

NIP:.................................................... REGON................................................

Contact person details:......................................................................................

*\*)if submitting a joint bid, please provide details of the appointed proxy)*

1. The following documents are attached to the bid:
2. ..........................................................................................................................
3. .........................................................................................................................
4. I declare that I am subject/not subject\* to exclusion from participation in the proceedings on the basis of Article 7 paragraph 1 of the Bill of April 13, 2022 on special solutions to prevent support for aggression against Ukraine and to protect national security

...............................................  
*(signature of authorized person*

*to represent the Contractor)*

***Appendix No. 3 to the Request for Proposal (RFP.273.70.2023)***

**List of technical parameters**

**The Open Part**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **LP** | **Parameter** | **Required value** | **Contractor indicates\*  YES/NO to confirm that the requirements of the Awarding Entity are met** | **Offered value (the contractor enters the offered parameter)** |
| 1 | Material | Stainless steel 1.4429 (AISI 316LN) | YES/NO |  |
| 2 | Vacuum connections | four flanges DN 25 CF with six holes | YES/NO |  |
| two flanges DN 50 CF | YES/NO |  |
| 3 | Packaging of BPM housing | separately in plastic boxes or PE bags | YES/NO |  |
| 4 | Infiltration value | less than 1e-10mbar-l/s | YES/NO |  |
| 5 | Desorption value | under 5e-12mbar-l/s-cm2 | YES/NO |  |
| 6 | Warming up with RGA (1-100 AMU) | max temperature 250°C | YES/NO |  |
| time greater than 24 hours | YES/NO |  |
| 7 | Verification of dimensions | At room temperature, i.e. 23±3°C. | YES/NO |  |
| 8 | Operating temperature of the BPM housing | 20°C to 100°C | YES/NO |  |

**Confidential Part - documentation made available after signing a confidentiality agreement**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **LP** | **Parameter** | **Required value** | **Contractor indicates\*  YES/NO to confirm that the requirements of the Awarding Entity are met** | **Offered value (the contractor enters the offered parameter)** |
| 1 | Implementation | According to the attached technical drawing (BPMA-Gehäuse--19-1625-0-001 D10000000212657-A004). | YES/NO |  |
| 5 | Vacuum specification | according to document DESY/MVS 005/2008 | YES/NO |  |

\*The contractor is obliged to confirm the fulfillment of the parameters indicated in the "**required value"** column by writing **YES/NO** and additionally **indicate the specific parameter in the "offered value" column**.

...............................................  
 *(signature of authorized person*

*to represent the Contractor)*

***Appendix No. A to the Request for Proposal***

**No. EZP.273.70.2023**

**Price form**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Lp.** | **Name** | **Number of pcs.** | **Total net price in PLN/EUR/USD** | **Total gross price in PLN/EUR/USD** |
| 1. | Delivery of an electron beam position monitor housing for the PolFEL free electron laser linear accellerator. | 7 pieces |  |  |

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

*(signature of authorized person*

*to represent the Contractor/*

***Appendix No. 6 to the request for quotation* EZP.273.70.2023**

…......................….........................

*(place and date)*

**Awarding Entity:**

Narodowe Centrum Badań Jądrowych (*National Centre for Nuclear Research*)

Andrzeja Sołtana 7 St.

05-400 Otwock

Poland

**Contractor:**

……………………………………………………………………………….....................................

*(full name/company adress)*

represented by:

……………………………………………………………………………….......................................

*(name, surname, position, basis for representation)*

**REQUEST FOR DOCUMENTATION**

On behalf of the Contractor ............................................................................ I request access to the technical documentation necessary for the preparation of an offer in the proceedings entitled **"Delivery of electron beam position monitors housings for the linear accellerator in the PolFEL free electron laser system to the headquarters of the Awarding Entity".**

At the same time, I undertake not to make available to the public, not to disclose or transfer to any third party, in any form whatsoever, and not to use the provided materials for any purpose other than submission or execution of the Offer in this proceeding. As proof of the above, I attach a signed Non-Disclosure Agreement.

*......................................................................................  
(electronic/ authenticated /personal signature of authorised person*

*to represent theContractor)*