|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Lp | Lokalizacja KWP/KPP/KP | Typ siłowni | Typ prostowników | Typ sterownika |
| 1 | 2 | 3 | 4 | 6 |
| 1 | KPP Grodzisk Wlkp. ul. 27 stycznia 16 | FLATPACK 48VDC/230VAC | FLATPACK 1500 48VDC 1400W | Flatpack MCU |
| 2 | KPP Kościan ul. Surzyńskiego 31 | FLATPACK 48VDC/230VAC | FLATPACK 1500 48VDC 1400W | Flatpack MCU |
| 3 | KPP Krotoszyn ul. Zdunowska 38a | FLATPACK 48VDC/230VAC | FLATPACK 1500 48VDC 1400W | Flatpack MCU |
| 4 | KPP Międzychód ul. Sikorskiego 22 | FLATPACK 48VDC/230VAC | FLATPACK 1500 48VDC 1400W | Flatpack MCU |
| 5 | KPP Oborniki ul. Piłsudskiego 54 | FLATPACK 48VDC/230VAC | FLATPACK 1500 48VDC 1400W | Flatpack MCU |
| 6 | KPP Ostrzeszów ul. Zamkowa 27 | FLATPACK 48VDC/230VAC | FLATPACK 1500 48VDC 1400W | Flatpack MCU |
| 7 | KPP Rawicz ul. Sieńkiewicza 23 | FLATPACK 48VDC/230VAC | FLATPACK 1500 48VDC 1400W | Flatpack MCU |
| 8 | KPP Szamotuły ul. Polna 3 | FLATPACK 48VDC/230VAC | FLATPACK 1500 48VDC 1400W | Flatpack MCU |
| 9 | KPP Śrem ul. Mickiewicza 15 | FLATPACK 48VDC/230VAC | FLATPACK 1500 48VDC 1400W | Flatpack MCU |
| 10 | KPP Środa Wlkp. ul. Harcerska 22 | FLATPACK 48VDC/230VAC | FLATPACK 1500 48VDC 1400W | Flatpack MCU |
| 11 | KPP Wągrowiec ul. Taszorowo 11 | FLATPACK 48VDC/230VAC | FLATPACK 1500 48VDC 1400W | Flatpack MCU |
| 12 | KPP Wolsztyn ul. Dworcowa 1 | FLATPACK 48VDC/230VAC | FLATPACK 1500 48VDC 1400W | Flatpack MCU |
| 13 | KPP Września ul. Szkolna 23 | FLATPACK 48VDC/230VAC | FLATPACK 1500 48VDC 1400W | Flatpack MCU |
| 14 | KPP Złotów Al. Piasta 49 | FLATPACK 48VDC/230VAC | FLATPACK 1500 48VDC 1400W | Flatpack MCU |
| 15 | KP Trzcianka ul. Roosvelta 10 | FLATPACK 48VDC/230VAC | FLATPACK 1500 48VDC 1400W | Flatpack MCU |