{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Załącznik nr 1a"],"read":"whole","date_system":"1900"}

{"sheet":"Załącznik nr 1a","index":0,"n_rows":11,"n_cols":11,"rows_kept":11,"merged":[[8,4,8,5],[9,4,9,5],[10,4,10,5]]}
[null,"Załącznik nr 1a"]
[null,"                                                "]
["Lp","Nazwa artykułu ","Jm","Ilość","Cena jed. ","Stawka","Cena jed. ",null,"Wartość","Nr Atestu","Nr katalogowy/"]
[{"$nulls":4},"netto","VAT","brutto ","Wartość netto","brutto           ","data ważności","Producent sprzętu"]
["1.","Jednorazowa, sterylna przystawka do punkcji BiPlane do wykonywania biopsji stercza z możliwością jednoczesnego obrazowania w dwóch płaszczyznach.\n\nPrzystawka biopsyjna o średnicy otworu równą 1,6 mm przystosowana do igieł 18Ga, linia  punkcji  poprowadzona pod kątem 19° względem osi głowicy.\n\nKanał biopsyjny w formie metalowej prowadnicy z plastikowym elementem stabilizującym o  długość  13 cm i przebiega przez środek głowicy.","szt",100]
[]
[]
[]
[null,"Wartość netto :"]
[null,"Wartość brutto :"]
[null,"Warunki płatności (podać w dniach) "]