DESCRIPTION OF THE OBJECT OF THE CONTRACT

(technical specification)

| Concerning: | the procedure entitled: „Delivery of two automatic bioaerosol detectors with an atomizer, along with data management and visualization software, 2 years of user support and device servicing” |
| --- | --- |

| Detailed range of minimum technical parameters required by the Contracting Authority |  | Conformity of the features required with the features offered by the Contractor (To be filled in by the Contractor, by indicating YES or NO (as appropriate, e.g. for the answer YES: YES/NO or YES/NO) and in the blank space the Contractor shall clearly specify the parameters of the equipment/device/subassembly offered by him/her |
| --- | --- | --- |
| AUTOMATIC BIOAREOSOL DETECTOR WITH A NEBULIZER – 2 PCS. |  |  |
| General requirements | - Detection based on holography methods | YES / NO |
|  | - The instrument must be equipped with an atomizer for expanding the database and teaching the recognition of new taxons | YES / NO |
|  | - The instrument must use a particle recognition algorithm based on artificial intelligence methods (VGG 16) | Recognition algorithm: …………………………… |
| Time resolution of detection | At least 1 hour | Detection time resolution: ………… h |
| Minimum range of recognized particles | alnus, betula, carpinus, corylus, fagus, fraxinus, pinaceae, platanus, poaceae, populus, quercus, taxus, ulmus | Recognized particles: …………………………… |
| Functionality | - Initial data, enabling monitoring to begin once the instrument is installed | YES / NO |
|  | - Access to the software code, allowing extension of the algorithms towards recognition of other taxa | YES / NO |
|  | - Software for management and visualization of measurement data | YES / NO |
| Meteorological shield | Detector installed in a weatherproof enclosure | YES / NO |

ATTENTION!

The Contractor in Appendix No. 1 to the ToR - Offer form clearly defines the offered device by indicating the manufacturer and model/type.

The document must be submitted together with the offer

The document must be signed with a qualified electronic signature, a trusted signature or a personal signature by a person or persons authorized to represent the Contractor / Contractors jointly applying for the award of the contract.