Załącznik nr 2 do zapytania ofertowego

**CENNIK CZĘŚCI ZAMIENNYCH I MATERIAŁÓW**

|  |  |  |  |
| --- | --- | --- | --- |
| **Part number** | **Opis** | **Cena katalogowa netto[PLN]** | **Cena obowiązująca przy niniejszej umowie -….[[1]](#footnote-1)%****netto[PLN]****W miejsce kropek proszę wpisać oferowaną zniżkę od cen katalogowych** |
| 151201042-003SP | AIR FILTER 23,5x7x0,5 |  |  |
| 151201042-002SP | AIR FILTER 12x20x1 |  |  |
| 151201042-001SP | AIR FILTER 19,5x21,5x1/2 |  |  |
| 120311025-002SP | CAPAC 45UF 370VAC |  |  |
| 120314020-002SP | CAPAC 45UF 600VAC D-STUD |  |  |
| 120110008-001SP | CAPAC 5800MF 300V |  |  |
| 1027569SP | CAPAC PRO 45uF 800V, M12 |  |  |
| 1028578SP | CONTA 1700A 400VAC 3P COIL 230VDC |  |  |
| 1028058SP | CONTA 3P 2450A 415VAC COIL 230V AC/DC |  |  |
| 123110015-002SP | CONTA 429A 1000VAC |  |  |
| 123110016-002SP | CONTA 612A 1000VAC 3P |  |  |
| 1027611SP | FAN 119x119x38 390m3/h 48VD |  |  |
| 1028235SP | FUSE 2250A 500VAC M12 45M |  |  |
| 128307025-004SP | FUSE 450A 700VAC M8 45MM SQ |  |  |
| P-128000015SP | FUSE 6A 500VAC HMI |  |  |
| 128401122SP | FUSE BLK 3 POLE 30A 600V |  |  |
| 128304038-050SP | FUSE MIDGET 600VAC 5A |  |  |
| 1026820SP | FUSE UR SQB M12 1400A 660V |  |  |
| 1028744SP | FUSE UR SQB M12 1800A 600V |  |  |
| 101073903-002 | PCBAS 3P1100 CSS STATIC SW |  |  |
| 101073677-002 | PCBAS 3P275 POWER SUPPLY BOARD |  |  |
| 1027174 | PCBAS 3P275 RFI BOARD |  |  |
| 712-00360SP | PCBAS 9395 HMI CSB BOARD COATED |  |  |
| 1024460-481C-SP | PCBAS COATED CONTROL BOARD II SP 9395 |  |  |
| 1024460-480SP | PCBAS CONTROL BOARD I/O FRAME 9395 |  |  |
| 1024460-481SP | PCBAS CONTROL BOARD UPM 9395 |  |  |
| 101073821-001 | PCBAS IOF RESISTOR BOARD |  |  |
| 101073877 | PCBAS ISBM POWER SUPPLY TIE BOARD |  |  |
| 101073735-001 | PCBAS LEG MODULE ASSEMBLY |  |  |
| 101073914-480SP | PCBAS MINI-CSB II 9395 |  |  |
| 101073725-001SP | PCBAS PMF INTERFACE BOARD ASSEMBLY |  |  |
| 101073725-001SPC | PCBAS PMF INTERFACE BOARD ASSY COATED |  |  |
| 101073831-001 | PCBAS PMF POWER SUPPLY BOARD |  |  |
| PSG60F24RM-SP | PCBAS POWER SUPPLY 3PH 60W 400VAC IN 24VDC/2.5A OUT |  |  |
| 101073828 | PCBAS STATIC SWITCH BOARD |  |  |
| 1028005SP | RESIS 2R2 150W 10% |  |  |
| 103005967-001SP | RESISTOR ASSY 2k ohms 10W 5% |  |  |
| 143327009-001 | SCR 425A 1600V DUAL MODU |  |  |
| P-106000068 | SP ASSY 9395 POWER MODULE, PH C |  |  |
| P-106000067 | SP ASSY 9395 POWER MODULE, PH A B |  |  |
| 103003706SP | SP ASSY DISPLAY |  |  |
| 1032347SP | SUBAS 3P1100 STATIC SWITCH WESTCODE 2000A |  |  |
| 103006470 | SUBAS 3P275 AC CAP PAN IL |  |  |
| 103004710 | SUBAS 3P275 FAN OAN |  |  |
| 1027173SP | SUBAS 3P275 POWER MOD SEMIKRON |  |  |
| 1027196SP | SWITCH MBS 4x1250A 400VAC +2AUX |  |  |
| 1027195SP | SWITCH MBS 4x630A 400VAC +2AUX |  |  |

|  |  |
| --- | --- |
|  |  |

1. zaoferowana przez Wykonawcę zniżka od ceny katalogowej [↑](#footnote-ref-1)